## Slide 1
C-Series
Motion Detect Action Setup Guide
Panasonic System Solution Asia Pacific
1st Jan 2016

## Slide 2
<NOTICE>
This document is supplementary to the operation manual.
The screens used in this document is taken from CJ-HDR416 with firmware version3.20.
Depending on the firmware version, the screens may differ from the actual screens.

## Slide 3
Set Up Flow
Motion Detect Condition Setup
Motion Detect Action Setup
Motion Detect Recording Schedule Setup

## Slide 4
Motion Detect Action Setup Procedure
1. Select channel number to detect motion
2. Check “Enable” to activate Motion Detect
3. Setup area where motion should be detected
(See next page)
Motion Detect Condition Setup

## Slide 5
Detection Area Setup Window
2. Can setup 4 different areas
1. Click “Setup”
Motion Detect Action Setup Procedure
3. Drag mouse to specify detection area
(Colored area means detection area)
Motion Detect Condition Setup

## Slide 6
Motion Detect Action Setup Procedure
Motion Detection Period Setup Window
Motion Detect Action Setup
In case of alarm signal output,
check and specify alarm out port 1~6 here.
(Only CJ-HDR416 has Alarm Out ports)
In case of motion triggered recording,
check and specify recording channel
(After this setup, proceed to next page)
In case of sequential display,
check and specify channels
In case of generating buzzer for motion detect, check here.

## Slide 7
Motion Detect Action Setup Procedure
2. Check “Motion”
3. Draw the line with mouse to specify period for motion detect recording
Click to copy and apply same schedule to other channel
Motion Detect Recording Schedule Setup
1. Select channel number
(Make sure to specify correct number!)

## Slide 8
Appendix
Motion Detect Snapshot
Setup Procedure

## Slide 9
Select “Trigger” as snapshot setting
Motion Detect Snapshot Setup Procedure
Snapshot Setup

## Slide 10
Motion Detect Snapshot Setup Procedure
2. Check and specify channel to take snapshot when motion is detected
Motion Detect Action Setup
1. Set necessary motion detect condition

## Slide 11
2. Check “Motion”
3. Draw the line with mouse to specify period for motion detect recording
1. Select channel number
Click to copy and apply same schedule to other channel
Motion Detect Snapshot Setup Procedure
Motion Detect Snapshot Schedule Setup